## Instructions
Equipment Calibration Charts
Calibration-status and measurement-performance workbook for laboratory equipment, reference devices and measuring systems, with automated dashboards that clearly separate Example Data from Actual Data.
How to use
1 | Enter one calibration or verification event per row in Calibration Data.
2 | Define the acceptance limit and observed maximum error using the same unit basis, preferably percentage when suitable.
3 | The workbook calculates days to due date, pass/fail and current calibration status using Excel 2007-compatible formulas.
4 | KPI cards always use Actual Data. Charts use Example Data only until Actual Data exists.
5 | Investigate out-of-tolerance events for potential impact on affected examinations, previous results and equipment authorization.
[Note] Example Data / Illustrative Data is provided only to demonstrate use. Replace or delete it before the workbook becomes a controlled organizational record.
References
ISO 15189:2022 — Medical laboratories — Requirements for quality and competence | https://www.iso.org/standard/76677.html
ISO 19011:2026 — Guidelines for auditing management systems | https://committee.iso.org/standard/19011
ISO 22367:2026 — Medical laboratories — Application of risk management to medical laboratories | https://committee.iso.org/standard/87738.html

## Reference Data
Reference Data & Controlled Lists
Data Type | Priority | Action Status | Checklist Result | Audit / NC Type | Risk Level | Calibration Result | Competence Decision | Method Study Result | Calibration Type
Example Data | High | Not Started | Acceptable | Major NC | Critical | Pass | Competent | Acceptable | External Calibration
Actual Data | Medium | Planned | Partially Acceptable | Minor NC | High | Fail | Competent with Restrictions | Acceptable with Limitation | Internal Calibration
| Low | Open | Unacceptable | Opportunity | Medium |  | Supervised Practice Required | Not Acceptable | Verification / Check
|  | In Progress | N/A | Observation | Low |  | Not Yet Competent | Not Applicable | Reference Standard Check
|  | Blocked |  |  |  |  | N/A
Completed
Closed
Official references used in this toolkit
ISO 15189:2022 — Medical laboratories — Requirements for quality and competence | https://www.iso.org/standard/76677.html
ISO 19011:2026 — Guidelines for auditing management systems | https://committee.iso.org/standard/19011
ISO 22367:2026 — Medical laboratories — Application of risk management to medical laboratories | https://committee.iso.org/standard/87738.html

## Calibration Data
Equipment Calibration Charts
Document Code | LQMS-RPT-007 | Version | 1.0 | Classification | INTERNAL
Applicable Standard | ISO 15189:2022 | Effective Date | 2026-09-19 | Document Owner | [DOCUMENT OWNER]
Website | www.iso-toolkits.org | Email | info@iso-toolkits.org | Organization | [ORGANIZATION NAME]
[Note] The first five rows are Example Data only. Replace or delete them before controlled use. Calibration frequency and acceptance limits must be defined from equipment use, risk, manufacturer information and applicable requirements.
Record ID | Equipment ID | Equipment / Device | Category | Location | Calibration Type | Calibration Date | Due Date | Acceptance Limit (%) | Observed Max Error (%) | Calibration Result | Days to Due | Calibration Status | Provider / Reference | Certificate / Evidence | Owner Role | Comments | Data Type
EX-CAL-001 | PIP-1001 | Adjustable pipette 100–1000 µL | Pipette | Chemistry | External Calibration | 2026-08-20 | 2027-02-20 | 1 | 0.45 | Pass | 154 | Current | Accredited calibration provider | CERT-EX-001 | Equipment Coordinator |  | Example Data
EX-CAL-002 | BAL-001 | Analytical balance | Balance | Core Lab | External Calibration | 2025-10-10 | 2026-10-10 | 0.2 | 0.08 | Pass | 21 | Due Soon | Accredited calibration provider | CERT-EX-002 | Technical Manager | Due within 30 days | Example Data
EX-CAL-003 | TMP-014 | Reference thermometer | Temperature | Blood Bank | External Calibration | 2025-08-15 | 2026-08-15 | 0.5 | 0.2 | Pass | -35 | Overdue | Accredited calibration provider | CERT-EX-003 | Blood Bank Supervisor | Overdue example | Example Data
EX-CAL-004 | CEN-004 | Centrifuge tachometer check | Speed / RPM | Hematology | Verification / Check | 2026-09-05 | 2027-03-05 | 2 | 2.6 | Fail | 167 | Out of Tolerance | Internal reference tachometer | CHK-EX-004 | Equipment Coordinator | Observed error exceeds defined limit | Example Data
EX-CAL-005 | TEMP-CH1 | Refrigerator temperature probe | Temperature | Specimen Storage | Reference Standard Check | 2026-09-01 | 2026-12-01 | 0.5 | 0.3 | Pass | 73 | Current | Certified reference thermometer | CHK-EX-005 | Facilities / Lab | Routine check | Example Data
Formulas:
Days to Due = IF([Document Code]="","",IF([Due Date]="","",[Due Date]-TODAY()))
Calibration Status = IF([Document Code]="","",IF([Calibration Result]="Fail","Out of Tolerance",IF([Due Date]<TODAY(),"Overdue",IF([Due Date]-TODAY()<=30,"Due Soon","Current"))))

## Dashboard
Equipment Calibration Dashboard
Document Code | LQMS-RPT-007-D | Version | 1.0 | Classification | INTERNAL
Applicable Standard | ISO 15189:2022 | Effective Date | 2026-09-19 | Document Owner | [DOCUMENT OWNER]
Website | www.iso-toolkits.org | Email | info@iso-toolkits.org | Organization | [ORGANIZATION NAME]
[Note] KPI cards count Actual Data only. Charts use Example Data until Actual Data exists. Out-of-tolerance results should trigger impact assessment and appropriate control of affected equipment.
Actual KPI | Value |  | Chart Control | Value
Actual Calibration Records | 0 |  | Chart Data Mode | Illustrative Data
Pass | 0 |  | Chart Source Type | Example Data
Fail | 0
Current | 0
Due Soon | 0 |  | Calibration Status | Count |  | Calibration Result | Count | Equipment | Observed Error % | Acceptance Limit % | Days to Due
Overdue | 0 |  | Current | 2 |  | Pass | 4 | Adjustable pipette 100–1000 µL | 0.45 | 1 | 154
Out of Tolerance | 0 |  | Due Soon | 1 |  | Fail | 1 | Analytical balance | 0.08 | 0.2 | 21
Due within 30 Days | 0 |  | Overdue | 1 |  |  |  | Reference thermometer | 0.2 | 0.5 | -35
Average Absolute Error (%) | 0 |  | Out of Tolerance | 1 |  |  |  | Centrifuge tachometer check | 2.6 | 2 | 167
[8 empty] | Refrigerator temperature probe | 0.3 | 0.5 | 73