LQMS Document Map

Controlled architecture of the Laboratory Quality Management System

ISO 15189:2022 — Medical laboratories — Requirements for quality and competence

| Document Code | LQMS-MAT-001 | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | 2026-09-19 | Classification | INTERNAL |
| Document Owner | [DOCUMENT OWNER] | Approver | [APPROVER] |
| Organization | [ORGANIZATION NAME] | Review Cycle | [ANNUAL / UPON CHANGE] |
| Website | www.iso-toolkits.org | Email | info@iso-toolkits.org |

[Note] Replace organization-specific placeholders and confirm applicable statutory, regulatory, accreditation and payer requirements before controlled release.

# 1. Purpose and Use

This document map provides a practical architecture for the controlled documents and records used to operate, demonstrate and improve a medical laboratory quality management system (LQMS). It is intended to help the laboratory decide what information must be controlled, who owns it, where evidence is retained and how documents interact across pre-examination, examination and post-examination activities.

[Note] The map is not a mandatory one-document-per-requirement catalogue. Documents may be combined where responsibilities, controls and evidence remain clear and usable.

# 2. LQMS Document Architecture

| Layer | Purpose | Typical content |
| --- | --- | --- |
| Governance | Defines authority, direction and boundaries. | Quality policy, scope, governance, impartiality/confidentiality commitments, organization and responsibilities. |
| Management system controls | Controls how the LQMS is maintained and improved. | Documented information, risk management, nonconformity, corrective action, complaints, internal audit, management review. |
| Technical process controls | Controls laboratory work from request to result. | Pre-examination, examination, post-examination, method verification/validation, QC, EQA, critical results, result authorization. |
| Resource controls | Ensures competent people and suitable resources. | Personnel, facilities, equipment, reagents/consumables, metrological traceability, information systems, external providers. |
| Records and evidence | Demonstrates that controls were performed and outcomes evaluated. | Competence records, QC/EQA results, maintenance logs, audit evidence, complaints, CAPA, review minutes, quality indicators. |

# 3. Master Document Map

| ID | Process Area | Document / Record | Type | Purpose / Control Objective | Typical Owner | Implementation Evidence |
| --- | --- | --- | --- | --- | --- | --- |
| DM-001 | Governance | Laboratory Quality Management Manual | Manual | Describe the laboratory LQMS, scope, process framework and key controls. | Laboratory Director / Quality Manager | Approved controlled manual |
| DM-002 | Governance | Laboratory Quality Policy | Policy | State commitments to quality, competence, patient care, impartiality, confidentiality and continual improvement. | Laboratory Director | Approved policy and communication evidence |
| DM-003 | Governance | LQMS Scope and Service Profile | Controlled Statement | Define sites, services, examination disciplines, POCT interfaces and relevant boundaries. | Laboratory Director | Approved scope/service profile |
| DM-004 | Governance | Organization, Roles & Responsibility Matrix | Matrix | Clarify authority, deputies, responsibilities and escalation paths. | Laboratory Director / HR | Approved organization chart and responsibility matrix |
| DM-005 | Governance | Impartiality & Conflict of Interest Controls | Procedure / Record | Identify and manage threats to impartiality and professional judgement. | Laboratory Director | Conflict declarations and mitigation records |
| DM-006 | Governance | Confidentiality & Information Protection Procedure | Procedure | Protect patient and laboratory information throughout its lifecycle. | Quality Manager / IT | Access controls, confidentiality agreements, incident records |
| DM-007 | Planning | Risk & Opportunity Management Procedure | Procedure | Apply risk-based thinking to patient safety, staff, services and LQMS performance. | Quality Manager | Risk register and treatment records |
| DM-008 | Planning | Laboratory Risk Register | Register | Record significant risks, controls, actions and monitoring. | Process Owners / Quality Manager | Updated risk register |
| DM-009 | Planning | Quality Objectives & Indicators Register | Register | Translate policy commitments into measurable objectives and monitored indicators. | Laboratory Director / Quality Manager | Approved objectives, definitions and review results |
| DM-010 | Support | Documented Information Procedure | Procedure | Control creation, approval, revision, access, retention and disposition of documents and records. | Quality Manager / Document Controller | Master document register and controlled versions |
| DM-011 | Support | Master Document & Record Register | Register | Maintain status, owner, version, retention and location of controlled information. | Document Controller | Current register |
| DM-012 | Support | Personnel Competence Procedure | Procedure | Define qualification, authorization, training, competence assessment and continuing development. | Laboratory Director / Section Heads | Competence matrix, assessments, authorization records |
| DM-013 | Support | Personnel Training & Competence Records | Records | Provide traceable evidence of role-based competence. | Section Heads / HR | Completed training and competence records |
| DM-014 | Support | Facilities & Environmental Conditions Procedure | Procedure | Control premises and environmental conditions that can affect examinations, safety and integrity. | Facilities / Section Heads | Monitoring and corrective action records |
| DM-015 | Resources | Equipment Lifecycle Procedure | Procedure | Control selection, acceptance, maintenance, calibration/verification, repair and retirement of equipment. | Technical Manager / Section Heads | Equipment files and maintenance records |
| DM-016 | Resources | Equipment Register | Register | Maintain equipment identification, status, location and service history. | Equipment Coordinator | Current equipment register |
| DM-017 | Resources | Reagent & Consumable Control Procedure | Procedure | Control selection, receipt, storage, lot acceptance, inventory and expiry. | Section Heads | Lot acceptance and inventory records |
| DM-018 | Resources | External Providers & Referral Laboratories Procedure | Procedure | Evaluate and monitor external services, suppliers and referral laboratories. | Procurement / Laboratory Director | Approved provider list and evaluations |
| DM-019 | Pre-examination | Examination Request & Patient Identification Procedure | Procedure | Ensure complete requests and unambiguous patient identification. | Pre-examination Lead | Request and identification records |
| DM-020 | Pre-examination | Sample Collection & Handling Procedure | Procedure | Control patient preparation, collection, labelling, preservation and handling. | Pre-examination Lead | Collection instructions and competency evidence |
| DM-021 | Pre-examination | Sample Transport & Receipt Procedure | Procedure | Protect sample integrity during transport, receipt and accessioning. | Specimen Reception Lead | Transport conditions, receipt records |
| DM-022 | Pre-examination | Sample Acceptance / Rejection Criteria | Standard / Work Instruction | Apply consistent acceptance, rejection and escalation criteria. | Section Heads | Rejection records and exception approvals |
| DM-023 | Examination | Method Selection, Verification & Validation Procedure | Procedure | Ensure examination procedures are fit for intended clinical use before routine implementation. | Technical Manager | Verification/validation plans and reports |
| DM-024 | Examination | Examination Procedure / SOP Set | SOP / Work Instruction | Provide controlled technical steps, quality controls, calculations and result interpretation rules. | Section Heads | Approved SOPs and version history |
| DM-025 | Examination | Internal Quality Control Procedure | Procedure | Monitor examination performance and define response to control failures. | Section Heads / Quality Lead | QC records, reviews and corrective actions |
| DM-026 | Examination | External Quality Assessment / Proficiency Testing Procedure | Procedure | Evaluate external comparability and respond to unsatisfactory performance. | Quality Manager / Section Heads | EQA/PT results and investigations |
| DM-027 | Examination | Measurement Uncertainty / Performance Characterization Records | Record / Technical File | Document relevant uncertainty or performance characteristics where applicable. | Technical Manager | Calculation and review records |
| DM-028 | Post-examination | Result Review, Authorization & Reporting Procedure | Procedure | Control technical review, authorization, report content and release. | Authorized Personnel | Authorization and report records |
| DM-029 | Post-examination | Critical Results Communication Procedure | Procedure | Ensure urgent results are communicated, acknowledged and traceable. | Section Heads / Authorized Staff | Critical-result communication records |
| DM-030 | Post-examination | Amended Report & Result Correction Procedure | Procedure | Control corrections, amended reports and communication of changes. | Laboratory Director / Section Heads | Amendment records and audit trail |
| DM-031 | Information | Laboratory Information System & Data Integrity Procedure | Procedure | Control access, interfaces, validation, backup, downtime and data integrity. | IT / Laboratory Director | Validation, access and downtime records |
| DM-032 | Quality | Nonconforming Work & Corrective Action Procedure | Procedure | Contain problems, protect patients, determine causes, implement actions and verify effectiveness. | Quality Manager / Process Owners | Nonconformity and CAPA records |
| DM-033 | Quality | Complaint Management Procedure | Procedure | Receive, evaluate, investigate and respond to complaints objectively and promptly. | Quality Manager | Complaint log and response records |
| DM-034 | Quality | Continual Improvement Register | Register | Capture, prioritize and verify improvement opportunities. | Quality Manager | Improvement actions and benefit evidence |
| DM-035 | Quality | Internal Laboratory Audit Procedure | Procedure | Plan, perform and follow up audits based on risk, significance and previous performance. | Lead Internal Auditor | Audit programme, reports and follow-up |
| DM-036 | Quality | Internal Laboratory Audit Checklist & Report | Checklist / Report | Provide structured evidence collection and audit reporting. | Audit Team | Completed audit records |
| DM-037 | Quality | Management Review Procedure | Procedure | Define review inputs, meeting controls, decisions and action follow-up. | Laboratory Director / Quality Manager | Management review package |
| DM-038 | Quality | Management Review Agenda & Minutes | Agenda / Minutes | Record formal review, decisions, resources and improvement actions. | Laboratory Director | Approved minutes and action tracker |
| DM-039 | Continuity | Emergency & Service Continuity Plan | Plan | Maintain essential services and safe communication during disruptions. | Laboratory Director / Section Heads | Continuity tests and incident records |
| DM-040 | POCT (if applicable) | POCT Governance & Oversight Procedure | Procedure | Define responsibility, operator competence, QC, connectivity and oversight for point-of-care testing. | POCT Coordinator / Laboratory Director | POCT governance and monitoring records |

# 4. Implementation Sequence

| Phase | Focus | Recommended output |
| --- | --- | --- |
| 1. Governance foundation | Scope, leadership, policy, responsibilities, document control. | Approved LQMS framework and controlled repository. |
| 2. Resource and technical controls | Personnel, equipment, reagents, facilities, pre/exam/post-examination procedures. | Controlled operational procedures and technical records. |
| 3. Performance and risk controls | Indicators, risk management, nonconformity, complaints, QC/EQA. | Routine monitoring and issue-management evidence. |
| 4. Assurance and review | Internal audit, management review, improvement, accreditation readiness. | Closed findings, review decisions and sustained evidence. |

# 5. Document Control Conventions

Each controlled document should have a unique identifier, title, owner, version, effective date and approval status.

Obsolete versions should be prevented from unintended use while retained records remain retrievable for their defined retention period.

External documents that influence laboratory work should be identified and controlled at the point of use.

Records should be legible, attributable, protected from unauthorized alteration and retrievable for investigation, audit and patient-safety needs.

Electronic systems should preserve access control, traceability and appropriate audit trails.

# References

| Reference | Title | Official source |
| --- | --- | --- |
| ISO 15189:2022 | Medical laboratories — Requirements for quality and competence | https://www.iso.org/standard/76677.html |
| ISO 20658:2023 | Requirements for the collection and transport of samples for medical laboratory examinations | https://www.iso.org/standard/80035.html |
| ISO 22367:2026 | Medical laboratories — Application of risk management to medical laboratories | https://www.iso.org/standard/87738.html |

[Note] Use the organization’s authorized copy of the applicable standard as the definitive reference. This document paraphrases requirements and does not reproduce the standard text.

# Revision and Approval

| Version | Date | Description | Approval Status |
| --- | --- | --- | --- |
| 1.0 | 2026-09-19 | Initial issue | Approved / [STATUS] |
| Prepared by | Reviewed by | Approved by | Approval Date |
| [DOCUMENT OWNER] | [REVIEWER] | [APPROVER] | [DATE] |