Laboratory Management Review Guidance

ISO 15189:2022 | Guidance

| Field | Value | Field | Value |
| --- | --- | --- | --- |
| Document Code | LQMS-GUI-003 | Version | 1.0 |
| Effective Date | 2026-09-19 | Classification | INTERNAL |
| Document Owner | [QUALITY MANAGER] | Approver | [LABORATORY DIRECTOR] |
| Review Cycle | [ANNUAL / UPON CHANGE] | Next Review | [NEXT REVIEW DATE] |

[Note] Replace organization-specific placeholders before controlled release.

ISO TOOLKITS DOCUMENT

www.iso-toolkits.org | info@iso-toolkits.org

1. Purpose and Use

This guidance helps laboratories turn management review into a decision-making process that improves laboratory quality, competence and service performance, rather than a meeting that only receives status updates.

2. Recommended Review Cycle

| Timing | Activity | Owner |
| --- | --- | --- |
| T-20 to T-15 days | Confirm review period, agenda, participants and data owners. | Quality Manager |
| T-14 to T-7 days | Collect indicator trends, audit/assessment results, significant incidents, risk information and resource inputs. | Process / Data Owners |
| T-6 to T-3 days | Validate data, identify exceptions and prepare concise review pack. | Quality Manager |
| T-2 to T-1 days | Chair reviews priority issues and decisions likely to require leadership input. | Chair / Laboratory Director |
| Meeting | Review trends, unresolved risks, major changes and decisions; assign actions. | Review Team |
| +1 to +5 days | Issue minutes and action log; confirm owners and dates. | Quality Manager |
| Ongoing | Track actions, verify closure and escalate delay or ineffective action. | Action Owners / Quality Manager |

3. Build a Decision-Ready Review Pack

A good review pack does not reproduce every operational record. It highlights trends, exceptions, recurring problems, significant changes and decisions that require leadership.

| Data type | What to show | What management should decide |
| --- | --- | --- |
| Quality objectives / indicators | Trend, target, exception and cause where known. | Continue, change target, resource, escalate or redesign control. |
| Audit / external assessment | Significant themes, repeat findings, overdue actions. | System change, priority and accountability. |
| Nonconformities / incidents | Frequency, severity, recurrence and patient/result impact. | Containment, root-cause depth, risk response and resources. |
| Complaints / feedback | Patterns, service interfaces and recurring dissatisfaction. | Process/service changes and stakeholder communication. |
| Technical performance | IQC/EQA or other technical quality evidence and significant investigation outcomes. | Method, equipment, competence or technical-control decisions. |
| Resources | Capacity, competence, staffing, equipment, IT/LIS, facilities and supply constraints. | Investment, recruitment, training or contingency decisions. |
| Risk / opportunities | Top risks, control effectiveness and improvement opportunities. | Accept, reduce, transfer/escalate, monitor or exploit opportunity. |

4. Interpreting Indicators

Look at trend and variation, not only a single result.

Separate normal fluctuation from persistent deterioration.

Use denominators that make the indicator meaningful when workload changes.

Consider process changes, staffing, instrument changes, seasonality or referral patterns before drawing conclusions.

Link adverse trends to action owners and an explicit verification plan.

5. Risk-Based Prioritization

| Priority lens | Questions |
| --- | --- |
| Patient / clinical impact | Could this issue lead to a delayed, incorrect, missing or miscommunicated result? |
| Technical validity | Could it undermine method performance, QC, metrological traceability or result authorization? |
| Recurrence | Has the issue occurred repeatedly despite previous action? |
| Scale | How many specimens, patients, processes, staff or locations could be affected? |
| Detectability | Would the problem be found before the result or service reaches the user? |
| Resource / resilience | Does a capacity, staffing, equipment or information-system weakness threaten service continuity? |

6. Converting Discussion into Decisions

Each significant agenda item should end with one of four outcomes: no further action, monitor with a defined trigger, implement an improvement/corrective action, or escalate for a higher-level decision.

| Decision quality test | Expectation |
| --- | --- |
| Specific | The decision states what will change or what will be monitored. |
| Owned | One accountable role is assigned. |
| Timed | A due date or review trigger is defined. |
| Evidence-based | The expected deliverable or closure evidence is clear. |
| Verifiable | Effectiveness or success can be evaluated. |

7. Managing Review Actions

Maintain one action log for formal management-review outputs.

Do not close an action only because a task was completed; verify the expected outcome where appropriate.

Escalate blocked or overdue high-priority actions before the next formal review.

Carry forward unresolved decisions explicitly so they do not disappear between review cycles.

Use repeated delays or repeated findings as evidence of a system weakness requiring stronger intervention.

8. Common Failure Modes

| Failure mode | Better practice |
| --- | --- |
| Meeting is a long presentation of raw data | Pre-read the pack and use meeting time for exceptions and decisions. |
| No trend context | Show prior periods and explain meaningful changes. |
| Actions have no owner or due date | Assign an accountable role, date and evidence requirement. |
| Same issue returns every review | Escalate root-cause analysis and effectiveness verification. |
| Resource issues are recorded but not decided | State the required leadership decision and interim control. |
| Minutes capture discussion but not decisions | Use a decision/action log with explicit conclusions. |

9. Evidence of an Effective Management Review

Agenda and participants are appropriate to the review scope.

Inputs are complete enough to support decisions and show trend or significance.

Minutes distinguish evidence, conclusions, decisions and actions.

Actions are assigned, monitored and closed with evidence.

Significant management-review decisions can be traced to later process or resource changes.

Recurring risks and quality issues are visibly escalated and addressed.

10. Integration with Other LQMS Processes

| Input / output interface | Management review connection |
| --- | --- |
| Internal audit | Findings and systemic themes become review inputs; leadership decisions may change the audit programme. |
| Risk management | Top risks and control effectiveness are reviewed; decisions may change risk treatment. |
| Quality objectives | Performance is reviewed and objectives may be revised. |
| Corrective action | Recurring or ineffective actions are escalated. |
| Competence & resources | Capacity and competence gaps can trigger investment or training decisions. |
| Change management | Major technical, service, LIS or organizational changes are evaluated and followed up. |

References

ISO 15189:2022 — Medical laboratories — Requirements for quality and competence

https://www.iso.org/standard/76677.html

ISO 22367:2026 — Medical laboratories — Application of risk management to medical laboratories

https://committee.iso.org/standard/87738.html

Applicable national, regional, accreditation-body and regulatory requirements should also be incorporated where relevant to the laboratory.

Revision and Approval

| Version | Effective Date | Description |
| --- | --- | --- |
| 1.0 | 2026-09-19 | Initial issue |

| Prepared by | Reviewed by | Approved by | Date |
| --- | --- | --- | --- |
| [NAME / ROLE] | [NAME / ROLE] | [NAME / ROLE] | [DATE] |