## Slide 1
Laboratory Process Map
ISO 15189:2022 Laboratory Quality Management System
PROCESS-BASED LQMS
End-to-end laboratory service flow
Governance, resources and technical controls
Risk, assurance and continual improvement
[ORGANIZATION LOGO]
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 2
Purpose and reading logic
This deck translates ISO 15189 requirements into a practical laboratory process architecture.
Use this map to
Show how patient/sample, technical and management processes interact.
Define process owners, hand-offs, records and control points.
Support implementation, induction, internal audit and management review.
Identify where risk, competence, equipment and information controls protect result quality.
How to read the deck
Slides 3–4: overall architecture and end-to-end sample/result journey.
Slides 5–13: detailed process streams and supporting controls.
Slides 14–16: assurance, review and improvement loops.
Slide 17: integrated interaction map.
Slide 18: references and sources.
Visual cue | Meaning
Blue blocks | Core laboratory processes / managed work
Green emphasis | Controls supporting reliable patient results
Amber emphasis | Risk, escalation or improvement
Arrows / hand-offs | Movement of specimens, information, decisions or actions
Use organization-specific procedures and records as the definitive local instructions.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 3
Laboratory Quality Management System architecture
ISO 15189 integrates technical competence with a management system focused on reliable results and patient care.
GOVERNANCE & STRUCTURE
RESOURCES
PRE- EXAMINATION
EXAMINATION
POST- EXAMINATION
EVALUATE & IMPROVE
Management-system backbone
Impartiality and confidentiality
Documents and records
Risk and opportunities
Nonconforming work and corrective action
Quality indicators, internal audit and management review
Technical service backbone
Competent personnel
Suitable facilities, equipment and reagents
Verified / validated examination methods
Quality control and external quality assessment
Reliable information systems and result authorization
PATIENT / CLINICAL NEED
RELIABLE LABORATORY RESULT
POCT is included where it falls within the laboratory's scope and responsibility.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 4
End-to-end patient, specimen and result journey
The primary service flow begins with a clinical question and ends with a usable, traceable result and retained evidence.
Clinical need / request
Patient preparation & identification
Collection & transport
Receipt & acceptance
Examination & QC
Review & authorization
Report / communication
CONTROL LANE
Pre-examination controls
Request completeness • ID • collection instructions • specimen integrity
Examination controls
Method verification • equipment • reagents • IQC/EQA • competence
Post-examination controls
Review • critical results • amended reports • retention / disposal
INFORMATION LANE
LIS / middleware / interfaces
Request → accession → instrument → review → report → audit trail
RISK & QUALITY LANE
Risk, nonconforming work & escalation
Detect deviation • contain • assess impact • communicate • investigate • improve
Hand-offs between collection sites, referral laboratories, LIS interfaces and clinical users should be explicitly controlled.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 5
Process map 1: Governance, scope and accountability
Governance establishes accountability, impartiality, confidentiality and the laboratory's controlled service scope.
Define legal / accountable entity
Define service scope & locations
Assign leadership & authorities
Control impartiality & confidentiality
Set policies, objectives & governance
Governance element | Typical output / evidence
Laboratory scope | Disciplines, locations, examinations, POCT and relevant interfaces
Leadership & accountability | Laboratory Director responsibilities, deputies, role / authorization matrix
Impartiality | Conflict review, declarations and escalation process
Confidentiality | Access, disclosure, privacy and information-protection controls
Policy & objectives | Quality policy, measurable objectives and indicator ownership
Decision points
Does the service scope match actual activities?
Are delegated authorities current and traceable?
Are conflicts or confidentiality risks escalated?
Core records
Scope statement
Organization / responsibility matrix
Governance and policy approvals
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 6
Process map 2: Personnel, competence and authorization
Personnel controls link qualifications, training, demonstrated competence and defined authorization.
Define role & competence needs
Verify qualifications & experience
Train / supervise
Evaluate competence
Authorize tasks / result release
Reassess & maintain competence
Evidence methods
Direct observation of work
Review of worksheets, records and QC interpretation
Unknown samples / case exercises
Problem-solving and critical-result scenarios
Result review and authorization evidence
Controls
No independent work before authorization
Restrictions are visible and enforced
Competence intervals reflect role and risk
Retraining / supervised practice follows gaps
POCT operator competence is controlled where applicable
QUALIFICATION
COMPETENCE
AUTHORIZATION
REASSESSMENT
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 7
Process map 3: Facilities, equipment, reagents and external providers
Resource controls ensure the laboratory has suitable infrastructure and reliable technical inputs.
Facilities & environment
Suitable workflow and segregation
Environmental limits monitored where relevant
Safe, secure and maintained work areas
Equipment lifecycle
Selection and acceptance
Identification and status
Maintenance, repair and decommissioning
Calibration / verification / traceability
Reagents & consumables
Acceptance and lot control
Storage and expiry
Inventory continuity
New-lot / relevant verification
External providers
Referral laboratories
Calibration / maintenance services
Critical suppliers
Performance evaluation and agreements
DEFINE NEED
SELECT / APPROVE
ACCEPT / VERIFY
USE / MONITOR
MAINTAIN / REVIEW
Trigger | Required management response
Equipment failure / out-of-tolerance | Control equipment; assess previous results and patient impact as needed
Reagent / consumable issue | Quarantine or restrict use; evaluate lot / examination impact
Environmental excursion | Assess examination validity, contain affected work and document decision
External-provider failure | Apply contingency, assess impact and re-evaluate provider approval
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 8
Process map 4: Pre-examination
Pre-examination controls protect specimen identity, integrity and suitability before testing begins.
Information & request
Patient prep & identification
Collection
Transport
Receipt / accession
Acceptance / rejection
Preparation / storage
Control point | Key controls | Evidence
Request | Patient, requester, examination and clinical information completeness | Request / order record
Identification | Positive patient and specimen identification; label traceability | Collection record / specimen label
Collection | Current instructions, collector competence, container and timing | Collection SOP / training
Transport | Time, temperature, packaging, traceability and exceptions | Courier / temperature logs
Receipt / acceptance | Condition, identity, volume and acceptance/rejection criteria | Receipt / rejection log
Preparation | Aliquoting, centrifugation, storage and stability controls | Processing / storage records
Escalation examples
Unidentified / mislabeled specimen
Unacceptable transport condition
Authorized exception to rejection criteria
Delayed specimen affecting stability
Process objective
Deliver the correct, suitable specimen to the correct examination process with complete traceability.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 9
Process map 5: Examination
Examination controls demonstrate that methods, equipment, reagents and quality-control systems are fit for intended use.
Select method
Verify / validate
Prepare equipment, reagents & QC
Perform examination
Evaluate IQC / quality evidence
Hold / release technical result
Method assurance
Intended use and performance requirements defined
Verification / validation before routine use and after significant change
Measurement uncertainty considered where relevant
Reference intervals / decision limits established or verified
Ongoing analytical assurance
IQC with defined acceptance and escalation rules
EQA / proficiency testing and investigation
Comparability across instruments, methods or sites where needed
Traceable calibration / reference systems where applicable
QC ACCEPTABLE
CONTINUE / RELEASE FOR REVIEW
QC FAILURE
HOLD & INVESTIGATE
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 10
Process map 6: Post-examination and reporting
Post-examination controls convert technical results into authorized, clear and timely clinical information.
Technical review
Authorize
Report
Communicate critical / urgent results
Amend / correct when needed
Retain / dispose specimen
Process step | Control focus
Technical review | Plausibility, flags, QC status, comparability, previous results and review criteria
Authorization | Only authorized competent personnel release results within defined scope
Report | Correct patient/examination identity, units, intervals/limits, comments and traceability
Critical result communication | Defined criteria, recipient, time target, verification/read-back and documentation
Amended reports | Reason, original result traceability, authorization and communication of change
Sample retention / disposal | Defined retention period, storage conditions, retrieval and safe disposal
Process objective
Deliver an authorized result to the intended user in a form that supports safe clinical action and preserves full traceability.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 11
Process map 7: Laboratory information management
Information management protects integrity, confidentiality, availability and traceability across the result lifecycle.
Request / order
Accession
Analyzer / manual entry
Review / authorize
Transmit report
Archive / retrieve
System controls
Role-based access and user lifecycle
Validated / verified functionality
Analyzer and EHR/EMR interface testing
Audit trails for relevant changes
Backup, recovery and downtime procedures
Cyber / information-security coordination
Data-quality controls
Patient/specimen identity retained
Units, intervals, flags and calculations verified
Manual transcription minimized / checked
Corrected results remain traceable
Downtime records reconciled after restoration
Confidentiality maintained during communication
CHANGE REQUEST
TEST / VERIFY
AUTHORIZE
DEPLOY & MONITOR
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 12
Process map 8: Risk management and nonconforming work
Risk management is proactive; nonconforming-work control provides the reactive containment and learning loop.
PROACTIVE RISK
Identify hazard / process risk
Estimate & evaluate
Select controls
Implement
Monitor residual risk
REACTIVE CONTROL
Detect deviation
Contain / stop
Assess patient / result impact
Correct & communicate
Investigate cause
Corrective action / verify
Examples of triggers
Specimen identification or integrity event
QC / EQA failure
Equipment or calibration failure
LIS / interface issue
Critical-result communication failure
Complaint, audit or trend signal
Required decisions
Can work continue safely?
Are results already released affected?
Who must be informed?
Is broader containment required?
What evidence proves corrective action is effective?
High-risk issues should be escalated through laboratory governance without waiting for routine review cycles.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 13
Process map 9: Quality indicators, monitoring and evaluation
Performance monitoring turns routine data into evidence for control, prioritization and improvement.
Define indicator
Collect reliable data
Analyze trend / variation
Compare target / trigger
Act & follow up
Indicator family | Illustrative measures
Pre-examination | Specimen rejection, recollection, transport excursions, identification errors
Examination | IQC exceptions, EQA performance, repeat rate, instrument downtime
Post-examination | Turnaround time, critical-result communication, amended reports
Management system | Complaints, audit findings, CAPA closure, document / competency overdue status
Service resilience | Downtime, staffing constraints, referral performance, backlog
Use indicators to ask
Is the process stable?
Is performance improving or deteriorating?
Is a patient/result risk increasing?
Is a control or corrective action effective?
Outputs
Dashboard / trend review
Escalation or action trigger
Management-review input
Improvement evidence
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 14
Process map 10: Internal audit
Internal audit provides structured assurance that laboratory controls are implemented, effective and responsive to risk.
Plan programme
Prepare scope / criteria
Audit processes / evidence
Report findings
Corrective action
Follow-up / verify
Risk-based planning inputs
Patient / result risk
Process importance and complexity
Previous audit and external assessment results
Significant technical / organizational changes
Performance trends and recurring nonconformities
Evidence approach
Interviews
Observation
Document and record review
Specimen / result trace-through
Representative sampling
Finding quality | Expectation
Criterion | Clear requirement or approved internal control
Evidence | Specific, objective and traceable
Gap | How evidence fails to meet criterion
Follow-up | Owner, due date, closure and effectiveness evidence
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 15
Process map 11: Management review
Management review converts performance evidence into strategic decisions, resources and accountable actions.
Prepare inputs
Review trends / changes / risks
Evaluate system / service performance
Make decisions
Assign actions
Track closure
Key inputs | Typical decisions / outputs
Prior actions, policy, objectives and indicators | Continue, revise or reprioritize objectives / controls
Audits, assessments, complaints, nonconformities | System changes, escalation or corrective-action priorities
IQC/EQA, technical performance and service trends | Technical, method, competence or process decisions
Resources, staffing, equipment, facilities and LIS | Resource investment, recruitment, training or contingency
Risks, opportunities and major changes | Risk-treatment decisions and improvement priorities
Effective review evidence
Decision-ready data pack
Explicit conclusions
Named owners and due dates
Follow-up / effectiveness evidence
Escalate immediately
Patient-safety or result-integrity issues
Critical resource / continuity risks
Repeat or ineffective corrective actions
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 16
Process map 12: Corrective action and continual improvement
The improvement loop removes causes of nonconformity and converts performance insight into measurable service improvement.
Identify issue / opportunity
Contain / correct
Analyze cause
Plan action
Implement
Verify effectiveness
Standardize / learn
Corrective-action discipline
Separate immediate correction from action on the cause.
Assess patient/result impact before administrative closure.
Use evidence proportionate to risk and recurrence.
Reopen or escalate ineffective actions.
Continual improvement sources
Quality indicator trends
Audit / assessment insight
Complaints and user feedback
Risk review
Technical innovation and workflow improvement
Closure test | Question
Completion | Was the planned action actually implemented?
Evidence | Can another reviewer verify what changed?
Effectiveness | Did the issue / risk reduce as intended?
Sustainability | Has the improved control been embedded into routine work?
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 17
Integrated Laboratory Process Interaction Map
The LQMS connects service delivery, supporting resources and assurance loops around one objective: reliable laboratory information for patient care.
PRIMARY SERVICE FLOW
Request
Collect
Receive
Examine
Review
Report
Clinical use
SUPPORT & RESOURCE FLOW
Personnel & competence
Facilities / equipment
Reagents / providers
Information systems
Documents / records
ASSURANCE & IMPROVEMENT FLOW
Risk management
Quality indicators
Internal audit
Management review
CAPA & improvement
System outcome
Competent service • reliable results • protected patient information • managed risk • evidence-based improvement
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org

## Slide 18
References & Sources
Official sources used to structure this ISO 15189 laboratory process map.
Reference | Title | Official source
ISO 15189:2022 | Medical laboratories — Requirements for quality and competence | https://www.iso.org/standard/76677.html
ISO 20658:2023 | Requirements for the collection and transport of samples for medical laboratory examinations | https://www.iso.org/standard/80035.html
ISO 22367:2026 | Medical laboratories — Application of risk management to medical laboratories | https://www.iso.org/standard/87738.html
ISO 19011:2026 | Guidelines for auditing management systems | https://committee.iso.org/standard/19011
Use of sources
ISO 15189:2022 is the primary requirements basis for the LQMS architecture and technical process flow.
ISO 20658:2023 supports the collection and transport elements of the pre-examination process.
ISO 22367:2026 supports the risk-management process map.
ISO 19011:2026 supports the internal-audit workflow.
This presentation is a practical implementation aid and does not reproduce the full text of any ISO standard.
ISO TOOLKITS DOCUMENT | www.iso-toolkits.org | info@iso-toolkits.org