Laboratory Quality Management System Guidance

Practical guidance for establishing, operating and improving an ISO 15189-aligned LQMS

ISO 15189:2022 — Medical laboratories — Requirements for quality and competence

| Document Code | LQMS-GDE-001 | Version | 1.0 |
| --- | --- | --- | --- |
| Effective Date | 2026-09-19 | Classification | INTERNAL |
| Document Owner | [DOCUMENT OWNER] | Approver | [APPROVER] |
| Organization | [ORGANIZATION NAME] | Review Cycle | [ANNUAL / UPON CHANGE] |
| Website | www.iso-toolkits.org | Email | info@iso-toolkits.org |

[Note] Replace organization-specific placeholders and confirm applicable statutory, regulatory, accreditation and payer requirements before controlled release.

# 1. Purpose

This guidance explains how to build a practical laboratory quality management system around patient needs, reliable examination results, technical competence and effective governance. It is intended for laboratories implementing ISO 15189:2022 or strengthening an existing system before internal assurance or accreditation activities.

# 2. Guiding Principles

Patient welfare and result reliability are the primary decision lenses for the LQMS.

Quality management and technical competence must operate as one system; documents alone do not demonstrate competence.

Controls should be risk-based and proportionate to the possible consequences of error or service failure.

Evidence should be generated naturally from routine work and be attributable, traceable and reviewable.

Improvement should be driven by data, audit results, complaints, nonconformities, risk trends and clinical/service feedback.

# 3. LQMS Operating Model

| System element | Practical implementation focus | Typical evidence |
| --- | --- | --- |
| Governance & structure | Define authority, scope, impartiality, confidentiality, responsibilities and service interfaces. | Scope statement, organization chart, policies, responsibility matrix. |
| Resources | Ensure competent personnel, suitable facilities, equipment, reagents, external services and information systems. | Competence records, equipment files, provider evaluations, LIS validation. |
| Pre-examination | Control requests, patient preparation/identification, collection, transport, receipt and sample suitability. | Collection instructions, transport records, rejection/exception records. |
| Examination | Use fit-for-purpose methods, technical authorization, quality control and external comparison. | Method files, SOPs, QC/EQA records, technical reviews. |
| Post-examination | Review, authorize, report and communicate results safely, including critical and amended results. | Authorization records, reports, critical-result logs, amendments. |
| Management system | Control documents/records, risks, nonconformities, complaints, audits, management review and improvement. | Registers, audit reports, CAPA, management review minutes, indicators. |

# 4. Recommended Implementation Path

Define the laboratory service scope, organizational interfaces, accreditation goals and implementation governance.

Perform a gap analysis using interviews, observation, document review and evidence sampling.

Build the document architecture and assign process ownership before drafting large volumes of procedures.

Prioritize patient-safety and technical-competence controls first: personnel authorization, methods, QC/EQA, equipment, sample integrity, reporting and information systems.

Implement risk, nonconformity, complaint and corrective-action processes that can respond quickly when reliability is threatened.

Operate the controls long enough to generate representative records and trends.

Conduct internal audits, management review and targeted readiness reviews; close significant gaps before external assessment.

# 5. Documented Information Strategy

Use the minimum controlled documentation needed to make work consistent, responsibilities clear and evidence retrievable. A typical hierarchy uses policies and the management manual for direction; procedures for cross-functional processes; SOPs/work instructions for technical work; and forms/registers/records for evidence.

[Note] Avoid writing procedures that simply repeat the standard. A useful procedure tells staff who does what, when, with which inputs, what decisions are required and what record proves completion.

# 6. Competence and Authorization

Define qualification and competence criteria for each role before assessing individuals.

Use observed practice, record review, blind or known samples, QC interpretation, result-review scenarios and other relevant methods to assess competence.

Separate training completion from authorization; authorization should follow demonstrated competence.

Maintain deputy and coverage arrangements for critical responsibilities.

Review competence after significant method, equipment, LIS or role changes and when performance signals indicate a need.

# 7. Technical Process Control

## 7.1 Pre-examination

Control examination requests, patient identification, preparation, specimen type, collection, labelling, transport and time/temperature conditions.

Define sample acceptance/rejection criteria and controlled exceptions so clinically important situations are escalated rather than handled informally.

Monitor specimen quality indicators such as rejection, recollection or transport deviations where useful.

## 7.2 Examination

Before routine use, confirm examination procedures are fit for intended use through appropriate verification or validation.

Control SOPs, instrument setup, reagents, calculations, reference intervals/decision limits and technical review criteria.

Use IQC and EQA/PT as complementary controls; investigate failures for patient impact and systemic causes.

## 7.3 Post-examination

Define who is authorized to review and release results and how automated authorization is governed where used.

Control report content, critical result communication, amended reports and retained sample disposition.

Protect result confidentiality and maintain traceability of changes and communication.

# 8. Risk-Based Management

Risk-based thinking should be integrated into everyday decisions. High-consequence processes such as patient identification, specimen integrity, critical result communication, transfusion-related testing, molecular contamination control, LIS interfaces or major equipment changes normally require stronger controls and evidence than low-consequence administrative activities.

Identify what can cause harm or invalidate results.

Evaluate existing controls and residual risk using a consistent laboratory method.

Prioritize controls that prevent error before it reaches the patient or clinician.

Monitor whether risk controls continue to work and reassess after significant change or adverse events.

# 9. Performance Evaluation and Improvement

| Mechanism | What it should achieve |
| --- | --- |
| Quality indicators | Show whether priority processes are stable, timely and improving. |
| QC/EQA review | Demonstrate analytical control and identify technical performance trends. |
| Complaints and feedback | Reveal service failures and user expectations. |
| Nonconformity/CAPA | Correct immediate problems, address causes and verify effectiveness. |
| Internal audit | Provide independent assurance across management and technical processes. |
| Management review | Convert evidence into strategic decisions, resources and improvement priorities. |

# 10. Accreditation Readiness

Use evidence sampling: select a patient episode or examination and trace it from request through sample, examination, review, report and retained records.

Ensure staff can explain their responsibilities and demonstrate actual practice, not only point to procedures.

Confirm internal audit has covered both management-system and technical activities.

Confirm management review has evaluated trends, risks, resources and improvement, with actions followed to closure.

Prepare evidence indexes for complex technical files, but avoid staging artificial records that are not part of routine operation.

# References

| Reference | Title | Official source |
| --- | --- | --- |
| ISO 15189:2022 | Medical laboratories — Requirements for quality and competence | https://www.iso.org/standard/76677.html |
| ISO 20658:2023 | Requirements for the collection and transport of samples for medical laboratory examinations | https://www.iso.org/standard/80035.html |
| ISO 22367:2026 | Medical laboratories — Application of risk management to medical laboratories | https://www.iso.org/standard/87738.html |

[Note] Use the organization’s authorized copy of the applicable standard as the definitive reference. This document paraphrases requirements and does not reproduce the standard text.

# Revision and Approval

| Version | Date | Description | Approval Status |
| --- | --- | --- | --- |
| 1.0 | 2026-09-19 | Initial issue | Approved / [STATUS] |
| Prepared by | Reviewed by | Approved by | Approval Date |
| [DOCUMENT OWNER] | [REVIEWER] | [APPROVER] | [DATE] |